STEREO/HET & STEREO/SIT

Ground Support Equipment:

User Guide for Build 1

WinMac Version 1b

October 31, 2002

Prepared by:
                      Kristin Wortman

Computer Sciences Corporation

Table of Contents

Background	3

Overview	3

References	3

Modification to WinMac for HET Ground Support Equipment (Bld 1)	4

Operating Environment	6

TCP/IP Communications	7

STEREO/HET TCP/IP Packet Format (In-House Testing)	9

STEREO/HET Pulse Height Data Format	9

Retrieving Real Time HET Telemetry Packets	10

Establishing the TCP/IP Connection	12

Telemetry Data Collection via TCP/IP	13

Displaying the Data Packets	14

Controlling the Display Rate	15

Plotting the Telemetry Data	16

Histogram Plotting Example	17

Limitations of the Ground Support Equipment Feature	22

# Background

An existing software program, referred to as WinMac, was originally developed for the low energy cosmic ray group (LECR) for scientific graphical analysis of instrument telemetry data.  The original design philosophy was based on the original Macro program (DOS command line version), which was written by Dr. Donald Reames, NASA/GSFC.

# Overview

The WinMac software is written in the C++ programming language using object-oriented methodologies and the Microsoft Foundation Class (MFC) library.   Using the MFC library enables point and click technology and a Windows graphical user interface through a series of menus and dialogs.

WinMac reads instrument telemetry data files, which have been produced following the guidelines used for the LECR data file format.  The WinMac software produces 2 and 3 dimensional plots, which are used for interactive analysis efforts by the NASA scientists in the preparation of research papers.

Additional features are being added to the WinMac software in support of the HET and SIT instruments.  This software will be delivered in several builds. Build 1 for the Ground Support Equipment software will provide support for the HET instrument to perform in-house testing activities.  Build 2 for the Ground Support Equipment software will provide support for the HET and SIT instruments to perform in-house testing activities.  Build 3 for the Ground Support Equipment software will provide support for both the HET and SIT instruments for real time flight support.

# References

Serial Command Interface Programmer and User’s Guide for Build 1 – WinMac Ver. 1a

Serial Port Interface to TCP/IP (SPiT), Tom Nolan

PHA Test Software, Tom Nolan

LECR Data File Format, Don Reames (NASA/GSFC), Kristin Wortman (CSC)

http://epact2.gsfc.nasa.gov/STEREO/docs.html

# Modification to WinMac for Ground Support Equipment (Build 1)

In order to support the HET ground support equipment the following additional features were added to the WinMac Software:

- TCP/IP communications with the server-side software, referred to as Serial Port Interface to TCP/IP (SPiT).

- Receive telemetry packets via TCP/IP.

- Create binary telemetry data files in the LECR format.

- Display telemetry packets in readable format according to bit addressing scheme.

The following diagram outlines the design of the ground support equipment for capturing HET telemetry data packets over TCP/IP and formatted the LECR file:

Ground Support Equipment: Telemetry Data Capture

Data Flow Diagram

The following communications protocol was established and is used in the SPIT and WinMac software.

| Opcode | Parameters | Description |
| --- | --- | --- |
| OP_SES (1) | SES_SNDCMD (0x10) SES_RCVCMD (0x20) SES_RCVTLM (0x40) | Send commands Receive command response Receives telemetry |
| OP_CMD | 0 | Command for delivery to instrument |
| OP_RSP | 0 | Command response from instrument |
| OP_TLM | 0 | Receive telemetry packet from instrument |

Communications Protocol for SPIT and WinMac Software

# Operating Environment

The ground support equipment option operates in real-time and non-real time modes.  The following shows the real-time software/hardware environment, where GSE-1, GSE-2 and GSE-3 show how the WinMac software can be used to communicate with the SpiT software, which in turn communicates with the software executing on the 24-bit microprocessor (MISC), which communicates directly with the PHA ASICS chip via a direct serial link connection.  This is the environment which is currently being used for in-house testing activities.

# TCP/IP Communications

The WinMac ground support equipment, real time mode, uses the TCP/IP protocol for communications with the SPiT software to send and receive commands and data.  The following software routines are used in the WinMac and the SpiT software to accomplish this bi-directional communication.

STEREO/HET TCP/IP Packet Format (In-House Testing)

In order to perform in-house testing of the PHA ASICS chip, the following STEREO/HET packet format was designed and is used as input, over the TCP/IP protocol, to the WinMac software.

| Offset (bytes) | Size (bytes) | Contents |
| --- | --- | --- |
| 0 | 11 | CCSDS Header |
| 11 | 1 | Packet type (0xe9 event, 0xad rate) |
| 12 | 1 | Sequence number (increments by 1) |
| 13 | 1 | Number of 24-bit words (0-86) |
| 14 | 258 | 24-bit ph or rate words (lsb – msb) |

# STEREO/HET Pulse Height Data Format

The STEREO/HET pulse height data for in-house testing is received in a compressed 24-bit format and is described in the structure below.

struct  COMP_PH

{

unsigned  ph                : 11;          // bits 0-10

unsigned  overflow     : 1;            // bit 11

unsigned  reserved1    : 1;            // bit 12

unsigned  reserved2    : 1;            // bit 13

unsigned  lohigain       : 1;           // bit 14

unsigned  pha_addr     : 4;           // bits 15-18

unsigned  chip_addr  : 4;             // bits 19-2

unsigned  token         : 1;             // bit 23

};

COMP_PH *c;

WinMac receives the compressed STEREO/HET pulse height data in the packets and in order to display the values, it is necessary to uncompress the data according to the following structure.

struct UNCOMP_PH

{

unsigned short verse;

short    byte_cnt;

unsigned short ph;

unsigned short  overflow;

unsigned short  reserved1;

unsigned short  reserved2;

unsigned short  lohigain;

unsigned short  pha_addr;

unsigned short  chip_addr;

unsigned short  token;

};

UNCOMP_PH *u;

# Retrieving Real Time HET Telemetry Packets

To retrieve HET real time telemetry packets, using the WinMac application, simply click the WinMac icon located on the desktop and select the Communications | HET GSE option located on the main menu.  Refer to the following illustration:

As a result, this dialog will be displayed.  This dialog contains the interface for the HET commanding, which is described in detail in the Serial Command Interface User’s Guide for Build 1.  This document’s focus is on the telemetry data retrieval display and plotting features for the ground instrument support.

# Establishing the TCP/IP Connection

WinMac automatically detects the first time the TCP/IP connection is needed; this is done by the first selection of the SEND or DATA button.   At this time, the following dialog will be displayed to request the IP address of the computer to connect to and its port number.  In addition, a LECR formatted header file also needs to be provided.  This header file describes the LECR data and is used for the display and plotting routines.

The default IP address and port identification number are read in from the WinSock.ini file, which is created and read each time you invoke this dialog.  If the file does not exist, a hard coded loop back IP address and port number are used.

# Telemetry Data Collection via TCP/IP

The HET GSE commanding option contains the controls to start and stop data collection of telemetry packets over the TCP/IP protocol.   Telemetry packets will be received from the SPiT software and written to a binary data file that can be read for display and plotting by the WinMac program at a later time.

To invoke data collection, the DATA button which is located on the HET GSE commanding dialog is used.

As a result of pressing the DATA button , the Windows standard SAVE AS dialog will be displayed and request you to enter a file name to store the telemetry packets.   The following is an example of what you will see:

Selecting the DATA button when telemetry data is already being collected will stop data collection to the currently selected file.  The SAVE AS dialog will be displayed to prompt you for a new file name and then data collection will start again.

Termination of data collection can also be accomplished by selecting the DISCONNECT button located on the GSE Commanding dialog.

# Displaying the Data Packets

The WinMac software is capable of displaying the telemetry data packets, which have been previously collected using TCP/IP and written to a LECR formatted file.   Several selectable modes exist for displaying different telemetry packets, to change a display mode, follow these steps:

- Click the MODE button (optional).   The following dialog will be displayed.  Note:  the Display option is the default mode.

- Select the format for displaying the data (optional).  The PHA format is the default mode, this format will display the PHA and hardware Rates.  The available modes are:

  - PHA – the contents of each pulse height is displayed, plus the hardware rate verse, when available.

  - HW Rates – hardware rates

  - SW Rates –   software rates

  - Beacon – beacon counts

  - HK – housekeeping

  - ALL – PHA,  SW rates, Beacon

- Click on the client area of the WinMac program, this is the white space located to the left of the HET GSE commanding dialog.

- Press G on the keyboard.

- To stop displaying the data packets, hit the ESC button.

Here is an example of what you will see when this option has been properly invoked:

To the right top of the display, you will notice the number of events and packets are displayed, along with the current status of the data collection.  There are three possible states in real time mode: Waiting, Running and Disconnected.

# Controlling the Display Rate

Since the data packets are being read from a data file, the speed of the computer can affect the rate at which the packets are displayed.  In order to simulate the real time, a higher speed CPU is needed.  However, it may be necessary to view the contents of the display at a much slower rate.  To change the display rate, you can enter a value in microseconds.  This is done using the following control located on the HET GSE commanding dialog:

Simply click on the number in the box and change or edit the value.

# Plotting the Telemetry Data

The WinMac software is capable of plotting the real time telemetry data in a separate panel.  The following steps show how to add another panel to plot data from the telemetry packets, in addition to the display panel:

- Click on the Axis | Setup option available on the main menu  located on the client window.

- The following dialog will be displayed:

- To add a new panel,  click on the next sequential panel number as follows:

- Next you need to setup the options for the plot.

# Histogram Plotting Example

The second panel is now ready to be setup for plotting, this example will demonstrate how to setup a one dimensional histogram which plots a pulse height verse and will also calculate and display the mean and standard deviation.

- Select the pulse height verse by clicking on the PHA check box.

- Select the quantity to be used on the X axis.  Refer to the  following diagram for further instructions.

- Now, select the histogram option, by first selecting the histogram verse and then dragging and dropping it on the Y axis.

- Next, select any other plotting parameters.   Additional options are available by clicking the OPTIONS button located in the bottom right area, next to the current panel number.

- By selecting OPTIONS the following dialog window will be displayed. On this dialog, select any additional plotting options for this panel.

- At this point, you should click OK on the Panel and the Axis Selection dialogs and then you will see something similar to the following:

# Limitations of the Ground Support Equipment Feature

WinMac Version 1b, which contains the ground support equipment feature for STEREO/HET, is capable of supporting only one GSE commanding session, which is connected to one IP address and port for in-house testing of the PHA ASICS chip.   Since WinMac Version 1b is capable of multiple panel displays, the first panel display is reserved for the HET GSE commanding session, however additional displays can be created, setup and used for plotting the telemetry data.

In order to keep the TCP/IP session active, the HET GSE commanding dialog needs to remain active throughout the WinMac session.  Termination of this dialog will also terminate any active TCP/IP connection.

The CPU speed of the computer will affect the display rate of the data packets.  It is recommended that a minimum of a 1.0 GHz processor be used running Windows 2000/XP operating system.