1. Initial installation of the Winmac-GSE software

- System Requirements:

  - Windows XP

  - Display resolution 1280 x 1024

2.  Create a directory named c:\winmac.

3.  Copy the following files to  c:\winmac.

- het_gse_v4_5.hdr

- wmac_ver4_5.exe

- LPT_display.cmd

- CPT_display.cmd

2.  Additional References:

- STEREO/IMPACT Aliveness Test Procedure

- STEREO/IMPACT HET Limited Performance Test Procedure

- STEREO/IMPACT HET Comprehensive Performance Test Procedure

3.  Set up the WinMac-GSE displays for the HET Aliveness and Limited Performance tests:

- Edit the LPT_display.cmd file.

- Change the IPaddr and the 2 ports (first WPort is for the data and second WPort is for HET FMx commanding).  Please note the following example is setup to connect to FM2.

- To record the test session, specify a unique file name in the Commfile parameter.

WinCommand

PS_Color    1

PrLinewidth    1

File       1    Socket

File       2    Socket

Npan       2

Cpan       1

ConnType    0

CommMode    1

CommFor    RAW DATA

Commfile    C:\wmac\test.gse

Commhdr    C:\wmac\het_gse_v4_2b.hdr

IPaddr   131.215.121.120

WPort   20031

WPort   20037

Bkclr  16777215

Axclr  0

Boxsize       10  429  485  849

Set   AA0 00/01/01  00:00:00  05/01/31  00:00:00

Axis       X   AA0

Auxlabel     1

Avginterval     60

Cpan       2

ConnType    0

CommMode    1

CommFor    RATE 590

Bkclr  16777215

Axclr  0

Boxsize       10  144  360  394

Set   AA0 00/01/01  00:00:00  05/01/31  00:00:00

Axis       X   AA0

Auxlabel     1

Avginterval     60

- Click on the wmac_ver4_5.exe or  icon (containing a shortcut to this .exe) to invoke the program.  The main window will display.

- On the main menu -> click File | Open File -> select LPT_display.cmd

4.  Set up the WinMac-GSE display for the HET Comprehensive Performance tests:

- Edit the CPT_display.cmd file.

- Change the IPaddr and the 2 ports (first WPort is for the data and second WPort is for HET FMx commanding).  Please note the  following example is setup to connect to FM1.

- To record the test session, specify a unique file name in the Commfile parameter.

WinCommand

PS_Color    1

PrLinewidth    1

File       1    Socket

Npan       1

Cpan       1

ConnType    0

CommMode    1

CommFor    ALL

Commfile    C:\winmac\Fm1_cpt_0615_001.gse

Commhdr    C:\winmac\het_gse_v4_5.hdr

IPaddr   131.215.121.120

WPort   20030

WPort   20036

Bkclr  16777215

Axclr  0

Boxsize       10  44  707  644

Set   AA0 00/01/01  00:00:00  06/01/31  00:00:00

Axis       X   AA0

Auxlabel     1

Avginterval     60

- Click on the wmac_ver4_5.exe or  icon (containing a shortcut to this .exe) to invoke the program.  The main window will display.

- On the main menu -> click File | Open File -> select CPT_display.cmd

5.   WinMac-GSE session

After the WinMac-GSE command session has been started, the following dialog will appear:

Note:  If you do not plan to command HET using this method, then this display can be minimized (the _ on the menu bar located in the top right corner) to maximize the viewing of the packet display area.  Also note that if you click on the X you terminate the GSE session, which will require you to restart the program.

For the HET Aliveness and Limited Performance test (using the LPT_display.cmd), you will see the following displays:

Note:  Wait a few minutes for the time and the data packets to synchronize and the display to fully populate.  It takes about 6 minutes for all the HK information to appear in the bottom panel for all the detectors.

For the HET Comprehensive Performance test (using the CPT_display.cmd), you will see the following display:

Note:  Wait a few minutes for the time and the data packets to synchronize and for the display to fully populate.  It takes about 6 minutes for all the HK information to appear for all the detectors.  Also, note that the display denoted with APID 597 will be empty until the "tmode 3" command has been sent to HET (as directed in the second part of the HET CPT procedure) and executed by the HET firmware.  All the information that is needed for this test will eventually be displayed.

After the displays are populated.  Start recording the HK data and Rate data  as directed in the Aliveness, LPT and CPT documents.   Make sure you verify that the HK is for the correct HET FM.  This information is available in these documents.

6.  Setting up for Commanding HET (optional, commanding can also be done from SEP Central console):

Using the HET GSE and Commanding window:

- Setup the SCM header by selecting the correct spacecraft ID (default is the Ahead spacecraft which ID = EA).    To select the Behind spacecraft, click on SetUp | SCM on the HET GSE and Commanding dialog menu.  The following dialog will appear:

- Select EA for the Ahead spacecraft or EB for the Behind spacecraft.   The Enable                                                     and Timeout parameters for the SCM are also configurable.  This SCM header parameter needs to be set only once during a GSE session.

- Using the HET GSE and Commanding dialog, type the commands (as specified in the Aliveness and LPT document) in the edit box labeled Commands.  You can also use the scroll down to get a template and then edit the parameters.

- Click the SEND button to send the command.

- The commands will be echoed from the GSE and from the command response packet (ApId 576)  in the HET Commanding dialog in the Command Log section as seen below:

Note:   Notice the command has been received and processed successfully by HET in the above figure, this is noted by HET> 10E801 tmode 0.  The number before the command string is assigned by the firmware.  If the command was entered incorrectly or not received successfully, HET will respond with a question mark (?) after the command string which it did receive.

7.  Identifying the Flight Model

When using multiple sessions of the Winmac-GSE, make sure you verify the flight model before recording data.  In the lower right bottom of the Winmac-GSE screen you will see the following information which will help you to identify the flight model for the GSE session.  The values in these fields will flicker as the data refreshes from reading the CCSDS header on the packets:

- Closing and Opening a New Data File for Recording

It is customary to open a new data file to correspond to each new test.   Opening a new file without restarting the program can be accomplished by pressing the DATA  button on the HET GSE and Commanding window (see figure in section 6).  By clicking on the DATA button, the current file will be closed and you will be prompted for a new file name to starting recording again.